## lc
Cost Analysis
|  |  | Fumonisin in Feeds |  |  |  |  | Reagents:
|  |  | by HPLC-NDA Analysis | [5 empty] | Cost per unit | # Used | Set Cost
[8 empty] | HPLC grade Methanol | $10.40/4 L Bottle | 9811 mL | 25.5086
Linear Feet Requirements: | [7 empty] | HPLC grade Water | $38.40/4 L Bottle | 2280 mL | 21.888
[8 empty] | HPLC grade Acetonitrile | $100/4 L Bottle | 2880 mL | 72
40 Linear feet is measured to be sufficient to run a set of 48 analyses (46 samples | [7 empty] | HPLC grade Glacial Acetic Acid | $32.65/500 mL Bottle | 45 mL | 2.94
and 2 working controls). This includes bench top space for filtering, pHing, and | [7 empty] | Fumonisin Mixed B1/B2 Standard | $368/5 mL Vial | 100 mL | 7.36
derivatizing samples; bench space for top-loading balances, shaker apparatus, pH | [7 empty] | pH 4 Buffer Solution | $1.72/500 mL | 50 mL | 0.17
meter, SPE manifolds for SAX column clean-up, and the Agilent HPLC unit (including | [7 empty] | pH 7 Buffer Solution | $1.72/500 mL | 50 mL | 0.17
computer, printer and detectors); and vent hood space for the nitrogen evaporator and | [7 empty] | Nitrogen Gas | $52.40/Tank | 1/2 Tank | 26.2
waterbath. | [7 empty] | Dibasic Potassium Phosphate | $77.15/500 g | 3.48 g | 0.54
[8 empty] | Sodium Borate | $38.10/500 g | 0.93 g | 0.07
Sample Preparation and Throughput Time Requirements: | [7 empty] | Sodium Cyanide | $26.00/25 g | 3.18 mg | 0.01
[8 empty] | Naphthyl-2,3-Dicarboxaldehyde | $55.70/100 mg | 6.12 mg | 3.41
Time required to process 46 samples plus 2 working controls from weighing to
HPLC analysis to paperwork documentation is 2 days. | [8 empty] | Total Cost: |  | 160.2666
Lab Attendant Time:
For a set size of 48 samples plus controls, there will be 48 screw-cap flasks with lids to
be washed, along with glass beakers, funnels, and other washables as needed. The
estmiated time for the washing, drying, and putting away of these items is roughly
3 hours
Summary of Costs: | [5 empty] | MS
Total Equipment costs: |  |  |  | 59794.27 |  | 350000
Total Expendables cost |  |  |  | 6810.83
Total Consumables cost: |  |  |  | 340.992
Total Reagents costs: |  |  |  | 160.2666
Cost Itemizations For Inividual Catagories:
Equipment:
| Agilent HPLC system |  |  |  |  | 45170
| Nitrogen Evaporator |  |  |  |  | 4160
| Water Bath |  |  |  |  | 942.47
| Top-Loader Balances (2) |  |  |  |  | 1500
| pH Meter |  |  |  |  | 700
| Vortexer |  |  |  |  | 250
| 40 space Orbital shaker |  |  |  |  | 7071.8
(including platform and 40 flask clamps)
|  |  |  | Total Cost: |  | 59794.27
Expendables:
|  |  |  | Cost per unit | Total Cost
EDP-10 Automatic 10 mL Pipetter |  |  |  | $495.00/each | 495
EDP-2 Automatic 1 mL Pipetter |  |  |  | $260.00/each | 260
LTS 0.1 - 1.0 mL Pipetter |  |  |  | $399.00/each | 399
Repipet Dispensers, 0.05-5.0 mL (2) |  |  |  | $387.99/each | 775.98
Repipet Dispenser, 0.1-10 mL |  |  |  | $384.99/each | 384.99
24 space SPE vacuum manifolds (2) |  |  |  | $1,064.10/each | 2128.2
100 mL Dispenser |  |  |  | $500/each | 500
Screw-cap Ehrlenmeyer flasks, 500 mL |  |  |  | $409.99/case 24 | 819.88
Glass Funnels |  |  |  | $125.75/case 24 | 251.5
Nalgene 3x8 Sample Racks (12) |  |  |  | $36.44/each | 437.28
HPLC Column, 3.9x150mm C18 |  |  |  | $300.00/each | 300
Guard Column, Ubond C18 |  |  |  | $118.00/2 pack | 59
|  |  |  | Total Cost: |  | 6810.83
Consumables:
|  |  |  | Cost per unit | # Used | Set Cost
Whatman #1 Filter Paper |  |  |  | $15.20/pack of 100 | 48 | 7.3
Centrifuge Tubes |  |  |  | $131.25/Box of 500 | 48 | 12.6
10 mL Pipet Tips |  |  |  | $43.50/box of 200 | 60 | 13.05
1000 mL LTS Pipet Tips |  |  |  | $34.00/rack of 96 | 48 | 17.35
16x125mm Disposable Culture Tubes |  |  |  | $68.55/Box of 250 | 96 | 26.32
Bond-Elut SAX Columns |  |  |  | $120.00/Box of 50 | 48 | 115.2
40 mL Amber Vials |  |  |  | $67.70/Box of 72 | 49 | 46.07
2.0 mL Amber HPLC Vials |  |  |  | $45.00/Box of 100 | 49 | 22.05
5 mL Disposable Syringe |  |  |  | $84.07/case of 400 | 49 | 10.3
0.22 mm Syringe Fliter |  |  |  | $604.00/Box of 500 | 49 | 59.192
Nitrile Gloves |  |  |  | $11.56/Box |  | 11.56
|  |  |  | Total Cost: |  | 340.992
Fumonsin
Laboratory | 5000000 |  |  |  |  | PCR
Interest | 11% |  |  |  |  | Interest | 11%
Term (yrs) | 30 |  |  |  |  | Term (yrs) | 3
Building cost/linear benchspace | 462962.963 |  |  |  |  | Equipment Cost | 59794.27
Annual payment | 53252.1289 |  |  |  |  | Annual payment | 24468.5968
Cost Itemization
Personnel | 580 | 12.6087
equipment | 1023.8236 | 2.0476
lab | 26626.0645 | 53.2521
utilities | 9259.2593 | 18.5185
supplies | 501.2586 | 10.8969
maintenance | 0 | 0
Total | 37990.4059 | 97.3239
Individual Sample Cost | 97.3239

## uplc-ms
upl |  |  | Cost Analysis
|  |  | Fumonisin in Feeds |  |  |  |  | Reagents:
|  |  | by HPLC-NDA Analysis | [5 empty] | Cost per unit | # Used | Set Cost
[8 empty] | HPLC grade Methanol | $10.40/4 L Bottle | 9811 mL | 25.51
Linear Feet Requirements: | [7 empty] | HPLC grade Water | $38.40/4 L Bottle | 2280 mL | 21.89
[8 empty] | HPLC grade Acetonitrile | $16.75/4 L Bottle | 2880 mL | 0
40 Linear feet is measured to be sufficient to run a set of 48 analyses (46 samples | [7 empty] | HPLC grade Glacial Acetic Acid | $32.65/500 mL Bottle | 45 mL | 2.94
and 2 working controls). This includes bench top space for filtering, pHing, and | [7 empty] | Fumonisin Mixed B1/B2 Standard | $368/5 mL Vial | 100 mL | 7.36
derivatizing samples; bench space for top-loading balances, shaker apparatus, pH | [7 empty] | pH 4 Buffer Solution | $1.72/500 mL | 50 mL | 0.17
meter, SPE manifolds for SAX column clean-up, and the Agilent HPLC unit (including | [7 empty] | pH 7 Buffer Solution | $1.72/500 mL | 50 mL | 0.17
computer, printer and detectors); and vent hood space for the nitrogen evaporator and | [7 empty] | Nitrogen Gas | $52.40/Tank | 1/2 Tank | 26.2
waterbath. | [7 empty] | Dibasic Potassium Phosphate | $77.15/500 g | 3.48 g | 0.54
[8 empty] | Sodium Borate | $38.10/500 g | 0.93 g | 0.07
Sample Preparation and Throughput Time Requirements: | [7 empty] | Sodium Cyanide | $26.00/25 g | 3.18 mg | 0.01
[8 empty] | Naphthyl-2,3-Dicarboxaldehyde | $55.70/100 mg | 6.12 mg | 3.41
Time required to process 46 samples plus 2 working controls from weighing to
HPLC analysis to paperwork documentation is 2 days. | [8 empty] | Total Cost: |  | 88.27
Lab Attendant Time:
For a set size of 48 samples plus controls, there will be 48 screw-cap flasks with lids to
be washed, along with glass beakers, funnels, and other washables as needed. The
estmiated time for the washing, drying, and putting away of these items is roughly
3 hours
Summary of Costs: | [5 empty] | MS
Total Equipment costs: |  |  |  | 59794.27 |  | 350000
Total Expendables cost |  |  |  | 6810.83
Total Consumables cost: |  |  |  | 340.992
Total Reagents costs: |  |  |  | 88.27
Cost Itemizations For Inividual Catagories:
Equipment:
| Agilent HPLC system |  |  |  |  | 45170
| Nitrogen Evaporator |  |  |  |  | 4160
| Water Bath |  |  |  |  | 942.47
| Top-Loader Balances (2) |  |  |  |  | 1500
| pH Meter |  |  |  |  | 700
| Vortexer |  |  |  |  | 250
| 40 space Orbital shaker |  |  |  |  | 7071.8
(including platform and 40 flask clamps)
|  |  |  | Total Cost: |  | 59794.27
Expendables:
|  |  |  | Cost per unit | Total Cost
EDP-10 Automatic 10 mL Pipetter |  |  |  | $495.00/each | 495
EDP-2 Automatic 1 mL Pipetter |  |  |  | $260.00/each | 260
LTS 0.1 - 1.0 mL Pipetter |  |  |  | $399.00/each | 399
Repipet Dispensers, 0.05-5.0 mL (2) |  |  |  | $387.99/each | 775.98
Repipet Dispenser, 0.1-10 mL |  |  |  | $384.99/each | 384.99
24 space SPE vacuum manifolds (2) |  |  |  | $1,064.10/each | 2128.2
100 mL Dispenser |  |  |  | $500/each | 500
Screw-cap Ehrlenmeyer flasks, 500 mL |  |  |  | $409.99/case 24 | 819.88
Glass Funnels |  |  |  | $125.75/case 24 | 251.5
Nalgene 3x8 Sample Racks (12) |  |  |  | $36.44/each | 437.28
HPLC Column, 3.9x150mm C18 |  |  |  | $300.00/each | 300
Guard Column, Ubond C18 |  |  |  | $118.00/2 pack | 59
|  |  |  | Total Cost: |  | 6810.83
Consumables:
|  |  |  | Cost per unit | # Used | Set Cost
Whatman #1 Filter Paper |  |  |  | $15.20/pack of 100 | 48 | 7.3
Centrifuge Tubes |  |  |  | $131.25/Box of 500 | 48 | 12.6
10 mL Pipet Tips |  |  |  | $43.50/box of 200 | 60 | 13.05
1000 mL LTS Pipet Tips |  |  |  | $34.00/rack of 96 | 48 | 17.35
16x125mm Disposable Culture Tubes |  |  |  | $68.55/Box of 250 | 96 | 26.32
Bond-Elut SAX Columns |  |  |  | $120.00/Box of 50 | 48 | 115.2
40 mL Amber Vials |  |  |  | $67.70/Box of 72 | 49 | 46.07
2.0 mL Amber HPLC Vials |  |  |  | $45.00/Box of 100 | 49 | 22.05
5 mL Disposable Syringe |  |  |  | $84.07/case of 400 | 49 | 10.3
0.22 mm Syringe Fliter |  |  |  | $604.00/Box of 500 | 49 | 59.192
Nitrile Gloves |  |  |  | $11.56/Box |  | 11.56
|  |  |  | Total Cost: |  | 340.992
Fumonsin
Laboratory | 5000000 |  |  |  |  | PCR
Interest | 11% |  |  |  |  | Interest | 11%
Term (yrs) | 30 |  |  |  |  | Term (yrs) | 3
Building cost/linear benchspace | 231481.4815 |  |  |  |  | Equipment Cost | 400000
Annual payment | 26626.0645 |  |  |  |  | Annual payment
Cost Itemization
Personnel | 220 | 4.7826
equipment | 1369.7949 | 2.7396
lab | 13313.0322 | 26.6261
utilities | 4629.6296 | 9.2593
supplies | 429.262 | 9.3318
maintenance | 0 | 0
Total | 19961.7188 | 52.7393
Individual Sample Cost | 52.7393